| Implementation Plan |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Serial Number | Date | Implementation Required | Room/Area | Review Date | Date Completed | Signature |
| 001 | 10.10.18 | A washer disinfector to be placed in a decontamination room. The cost is currently £2000. The practice does not have current funds to implement this. | Decontamination room | April 2019 | N/A | Cfoster |
| 002 | 10.10.18 | Separate decontamination room with two sinks present and extra hand-washing facilities. The store room has the available space to complete this. However, the practice does not have the funds to fully comply with best practice, as the building is a listed building. A quote is to be arranged for information at this time. | Old store room | October 2019 | N/A | Cfoster |
| 003 | 21.11.18 | Separate instrument storage room. | Not known | November 2019 |  | Cfoster |
| 004 | 01.12.18 |  |  |  |  |  |
| 005 | 01.12.18 |  |  |  |  |  |

Practice Name:  Dental Nurse Network        IPC Lead: Chelsea Foster           Date completed: 10.10.18            Review Date: April 2019