| Improvements Plan |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Serial Number | Date | Improvement Identified and Reason | Room/Area | Review Date | Signature |
| 001 | 10.10.18 | Instrument cleaning with a validated washer disinfector | Decontamination room | April 2019 | Cfoster |
| 002 | 10.10.18 | Separate decontamination room with two sinks present and extra hand-washing facilities | Old store room | October 2019 | Cfoster |
| 003 | 21.11.18 | Separate instrument storage room | Not known | November 2019 | Cfoster |
| 004 | 01.12.18 |  |  |  |  |
| 005 | 01.12.18 |  |  |  |  |

Practice Name:  Dental Nurse Network        IPC Lead: Chelsea Foster           Date completed: 10.10.18            Review Date: April 2019