Legionella Competent Person Contract

Name of competent person:

Telephone number:

Email:

If the competent person is not available in an emergency, the deputy should be contacted.

Name of deputy:

Telephone number:

Email:

Roles and responsibilities – as the chosen competent person for Legionella, you must:

- Complete an annual health and safety Legionella audit.

- Complete annual Legionella refresher training.

- Maintain an up-to-date list of roles and responsibilities for outside contractors.

- Retain a copy of the Legionella risk assessment in the file (completed by the registered manager).

- Maintain an up-to-date plan of the practice water system and review this annually.

- Complete monthly water temperature checks from all outlets, ensuring that the cold water is below 20˚C and the hot water is above 55˚C.

- Report instances where water temperatures are not within the required range to the registered Legionella manager.

- Ensure all non-frequently-used pipes are flushed through on a weekly basis and record this.

- Record the thermostatic temperatures monthly.

- Ensure relevant de-scaling of water outlets is completed on a quarterly basis and records are kept.

I have read and understood the above contract.

Name:

Signed:

Date:

Registered Manager:

Name:

Signed: