Reported Fault Log

Dental Practice:

IPC Lead:

Date Started:

| Serial No | Date | Fault Reported | Reported By | Reported To | Actions Taken | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 0001 | 11.12.18 | Kitchen cold water tap is running brown in colour despite flushing. | CF | Registered manager and external agencies | External agencies contacted and are due to check the pipes 15.12.18. Advised not to use this water outlet and to quarantine. | Ongoing |
|  | 15.12.18 | As above | CF | As above | Water checked, confirmed that as pipes are old and rusted, they are colouring the water. Avoid use or replace pipes. | When funding is present, pipes will be replaced. Avoid use for now. Fault complete 15.12.18 CF |