Steriliser Weekly Log Sheet

Dental Practice:                                               Location:                                                Serial No:                                            Make/Model:

| Week Beginning | Cycle Number | Automatic Air Leakage Test Result Pass/Fail | Residual Air Test Pass/Fail | Automatic Control Test Result Pass/Fail | Steam Penetration Test Pass/Fail N/A | Weekly Safety Checks Satisfactory/Unsatisfactory | Certified Fit for Use by User |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | P / F | P / F | P / F | P / F N/A | S / U |  |
|  |  | P / F | P / F | P / F | P / F N/A | S / U |  |
|  |  | P / F | P / F | P / F | P / F N/A | S / U |  |
|  |  | P / F | P / F | P / F | P / F N/A | S / U |  |
|  |  | P / F | P / F | P / F | P / F N/A | S / U |  |
|  |  | P / F | P / F | P / F | P / F N/A | S / U |  |
|  |  | P / F | P / F | P / F | P / F N/A | S / U |  |

| Weekly Safety Checks (tick if satisfactory) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Week Beginning | Cycle Number | Door Seal | Door Pressure Interlock | Door Closed Interlock | Satisfactory/ Unsatisfactory | Tested By |
|  |  |  |  |  | S / U |  |
|  |  |  |  |  | S / U |  |
|  |  |  |  |  | S / U |  |
|  |  |  |  |  | S / U |  |
|  |  |  |  |  | S / U |  |
|  |  |  |  |  | S / U |  |