Water Temperature Monthly Log

Dental Practice:                                                                              IPC Lead:                                                                                  Date Started:

| Cold Water Under 20˚C |  |  |  |  | Hot Water Over 55˚C |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Outlet | Temperature at 60 seconds | Pass/Fail Initials | Comments |  | Outlet | Temperature at 60 seconds | Pass/Fail Initials | Comments |
| Surgery 1 clean sink | 14˚C | Pass CF | N/A |  | Surgery 1 Clean sink | 43˚C | Fail CF | Reported to registered manager on 11.12.18 ( see fault log) |